## Sheet1
The table below contains projected winter peak demand, planning reserve requirements, and resource ratings for the Santee Cooper system that were depicted in the chart presented in Slide #61 of the presentation delivered December 8, 2022 for Santee Cooper’s IRP Stakeholder Meeting #4. Specific to the inquiry for “…the amount of non-firm load included in resources and how this amount was derived from the projected non-firm load,” please refer to rows 16 and 21. Row 16, labeled Purchase/Other, contains a forecast of the quantity of interruptible load and demand response depicted in the chart on Slide #61 that is forecast for the Santee Cooper electric system for the winter peak. Row 21, labeled Interruptible Demand, depicts the quantity of interruptible loads forecast for Santee Cooper and Central Electric Cooperative that are contained within the forecast quantities depicted on row 16, and which Santee Cooper assumes to be synonymous with your inquiry for “the amount of non-firm load.” Santee Cooper and Central Electric Cooperative respectively develop their forecasts of system demand as part of an annual load forecasting process.
Combined System Supply & Demand Balance - Winter
Winter Demand and Capacity (MW)
| 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042
Peak Demand | 5213.5 | 5430.3 | 5530.7 | 5533.3 | 5551.2 | 5574.2 | 5620.1 | 5545.1 | 5580.6 | 5618.9 | 5656.2 | 5686.1 | 5722 | 5758.6 | 5800 | 5834.8 | 5874 | 5915.1 | 5959.8 | 6001.7 | 6066.1
Peak + Planning Reserves | 5839.1 | 6087.4 | 6288.4 | 6385.5 | 6494.9 | 6521.8 | 6575.5 | 6487.8 | 6529.3 | 6574.1 | 6617.8 | 6652.7 | 6694.8 | 6737.5 | 6786 | 6826.7 | 6872.6 | 6920.7 | 6972.9 | 7022 | 7097.3
Resource Summary
Coal | 3429.2 | 3429.2 | 3480 | 3480 | 3480 | 3480 | 3480 | 2330 | 2330 | 2330 | 2330 | 2330 | 2330 | 2330 | 2330 | 2330 | 2330 | 2330 | 2330 | 2330 | 2330
Nuclear | 322 | 322 | 322 | 322 | 322 | 322 | 322 | 322 | 322 | 322 | 322 | 322 | 322 | 322 | 322 | 322 | 322 | 322 | 322 | 322 | 322
NG/Peaking | 1315 | 1315 | 1315 | 1315 | 1315 | 1315 | 1315 | 1150 | 1150 | 1150 | 1150 | 1150 | 1150 | 1150 | 1150 | 1150 | 1150 | 1150 | 1150 | 1150 | 1150
Hydro/Renew | 635.2 | 636.7 | 639.3 | 643.3 | 603.8 | 603.8 | 601.3 | 598.7 | 598.7 | 598.7 | 598.7 | 598.7 | 598.7 | 598.7 | 598.7 | 598.7 | 598.7 | 598.7 | 598.7 | 598.7 | 598.7
Future NG | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Purchase/Other | 373.8 | 374.8 | 396.8 | 401.5 | 413.5 | 427.5 | 435.5 | 440.5 | 444.5 | 445.5 | 447.5 | 448.5 | 449.5 | 448.5 | 448.5 | 447.5 | 447.5 | 447.5 | 447.5 | 447.5 | 447.5
Total Resources | 6075.2 | 6077.7 | 6153.1 | 6161.8 | 6134.3 | 6148.3 | 6153.8 | 4841.2 | 4845.2 | 4846.2 | 4848.2 | 4849.2 | 4850.2 | 4849.2 | 4849.2 | 4848.2 | 4848.2 | 4848.2 | 4848.2 | 4848.2 | 4848.2
Net Requirement/(Surplus) | -236.1 | 9.7 | 135.3 | 223.7 | 360.6 | 373.5 | 421.7 | 1646.6 | 1684.1 | 1727.9 | 1769.6 | 1803.5 | 1844.6 | 1888.3 | 1936.8 | 1978.5 | 2024.4 | 2072.5 | 2124.7 | 2173.8 | 2249.1
Interruptible Demand (incl. on row 16) | 343.8 | 336.8 | 347.8 | 343.5 | 343.5 | 343.5 | 343.5 | 343.5 | 343.5 | 343.5 | 343.5 | 343.5 | 343.5 | 343.5 | 343.5 | 343.5 | 343.5 | 343.5 | 343.5 | 343.5 | 343.5